## Slide 1: HYDROLOGY
Ground Water and wells part 2
Yasir Alrubaye

## Slide 2: Multiple wells and super position (steady state).
The head distribution between pumping and recharging wells can be written as:
Q1
Q2
o
r1
r2
T.V.

## Slide 3
Example: Calculate and plot the total hydraulic head distribution of point p(x, 0) due to a pumping and recharging wells located at (2000, 0) and (-2000, 0) respectively. Aquifer properties: T = 1000 m3/day, static P.S. Hwo = 50 m, and Q = 2000 m3/day for both recharging and pumping.

## Slide 4: Multiple wells and super position (transient stats)
Pumping with time makes piezometric surface dropdown. The volume of water released or stored per unit horizontal area per unit drop of piezometric or water surface. Dropdown of piezometric head can be found from:
Where:
dropdown of piezometric head by well effect for a certain time,
discharge is positive for pumping and negative for recharging,
storage constant of the aquifer, and
well function.

## Slide 5: Example: after one year of pumping and recharging, calculate and plot the total hydraulic head distribution along the longitudinal axis of pumping and recharging well which are (1000 m) the aquifer transmissibility is 1000 m2/day and its storage coefficient is 0.0005 water is pumped from the pumping well at rate of 1000 m3/day and inject fully into the recharging well. The static piezometric surface Hwo = 50 m.

## Slide 6: solution
r1 | $1 (pump) | r2 | $2 (recharge) | $total | Ht = Hwo + $t
0.5 |  | 1000 |  |  | 
100 |  | 900 |  |  | 
200 |  | 800 |  |  | 
300 |  | 700 |  |  | 
400 |  | 600 |  |  | 
500 |  | 500 |  |  | 
600 |  | 400 |  |  | 
700 |  | 300 |  |  | 
800 |  | 200 |  |  | 
900 |  | 100 |  |  | 
1000 |  | 0.5 |  |  | 

## Slide 7: Boundary aquifers (Impermeable boundary):
The drop down between the barrier and pumping well can be calculated from:
Image
Real

## Slide 8
Example: A well is pumping near a barrier at rate of 0.03 m3/sec from a confined aquifer 20 m thick. Aquifer permeability is 27.65 m/day and its storage coefficient is 3 * 10-5. Determine the dropdown at point (o) of figure below after 10 hrs of continuous pumping.

## Slide 9: Recharge Boundary.
The drop down between the barrier and pumping well can be calculated from:
Image
Real

## Slide 10
Example: A 0.5 m diameter well (200 m from river) is pumping at rate of 0.04 m3/s from a confined aquifer. The aquifer proprieties are: T = 432 m2/day & S = 4 * 10-4. Calculate the dropdown in an observation well point (o) after 8 hr of pumping (as shown in figure below)