## Slide 1: Lecture 5
Estimation of Steel Reinforcement
Asst. Lect. Ali Khalid

## Slide 2: Estimation of Steel Reinforcement
Before establishing the works for reinforced concrete projects, engineering firms and contractors must estimate the required weight for different bar sizes as depicted in the structural design drawings. The shop drawings for such projects should also include the bars schedule.
The following data is necessary for the estimation of the required steel reinforcement:

## Slide 3: Estimation of Steel Reinforcement
(i): Bars Weight per meter:
This depends on the manufacturing standard, however, the following represents the types available in local (Iraqi) markets
Bar Nominal Diameter (mm) | Kg/m | No. of standard 12m bars per ton.(*)
6 | 0.222 | 375
8 | 0.395 | 211
10 | 0.617 | 135
12 | 0.888 | 94
16 | 1.580 | 53
20(**) | 2.470 | 34

## Slide 4
(ii): Standard Bar Hooks:
According to ACI-318-14, the standard bar hooks are as shown in Fig. (1) below. The minimum outside diameter of bend for the standard hooks are also given in the following table. The hooked ends are only required when there is insufficient distance for the required development length

## Slide 5
Minimum outside diameter of bend for standard hook (2r)
Bar diameter ( | Outside diameter (2r)
10 mm – 25 mm | 
29 mm -32 mm | 
 | Outside diameter (2r)
10 mm – 25 mm | 
29 mm -32 mm | 

## Slide 6
Example :
For the model beam shown in Fig. (3), prepare the bars schedule and estimate the total weight of steel reinforcement. Assume a concrete cover of 25mm all around the stirrups.
Solution: